Universal RCx Finding Sheet One finding per page: equation, operating gate, Plotly evidence, interpretation, recommendation, and verification

| Client | [CLIENT NAME] | Facility | [FACILITY / SITE] |
| --- | --- | --- | --- |
| Report period | [START] to [END] | Equipment / Finding | [SYSTEM / EQUIPMENT] |
| Prepared by | [ENGINEER] | Reviewed by | [REVIEWER] |
| Data source | [CSV / SQL / BAS EXPORT] | Revision | [REV / DATE] |

# Finding statement

FINDING TITLE + CLIENT-READY SUMMARY Write 2–4 sentences describing what happened, when it happened, why it matters, and the recommended action.

# Diagnostic definition

| Rule ID / title | [RULE-ID] — [TITLE] |
| --- | --- |
| Engineering intent | [What the rule detects] |
| Equation / logic | [Paste the predefined equation from Streamlit/catalog] |
| Operating gate | [Fan/pump/plant/occupied prerequisite] |
| Thresholds | [Slider values and units] |
| Result | [FAULT HOURS / PERCENT / SEVERITY / CONFIDENCE] |

PASTE PRIMARY PLOTLY EVIDENCE Use a screenshot with readable legend, timestamps, units, threshold line, and equipment name.

# Engineer interpretation and action

| Priority | Finding | Evidence | Operational impact | Recommendation | Owner / status |
| --- | --- | --- | --- | --- | --- |
| [H/M/L] | [Finding title] | [Plot / rule / hours] | [Comfort / energy / reliability] | [Action and verification] | [Owner / open] |
| [H/M/L] | [Finding title] | [Plot / rule / hours] | [Comfort / energy / reliability] | [Action and verification] | [Owner / open] |

PASTE VERIFICATION PLOT Repeat the analysis after the repair or sequence update.

# Engineer certification and limitations

This workpaper is intended for engineering screening and retro-commissioning documentation. Results depend on point mapping, sensor quality, timestamps, operating gates, and selected thresholds. The engineer should verify findings against sequences of operation, field conditions, and control-system trends before implementation.

| Prepared by | [NAME / SIGNATURE] | Date | [DATE] |
| --- | --- | --- | --- |
| Reviewed by | [NAME / SIGNATURE] | Date | [DATE] |